## Canopy & Site Requirements – Summary

### 1. Canopy Dimensions

- Current civil plan shows 20' × 80' canopy.

- Minimum required for 3 MPDs: 24' × 80'.

- We plan to request city approval to add a 4th MPD, which will require extending the canopy to 24' × 120'.

### 2. Structural Notes

- Confirm feasibility of using a single center column for the extended canopy.

- General Contractor will brick-wrap all columns to full height.

- Fascia specification: Blue fascia with white lip.

### 3. Electrical & Controls

- Need to verify whether the POS or Backoffice system can be integrated with the price sign controller.

- Request to add backlighting to the fascia, similar to the system used by Sharpline.

### 4. Reference Image

- A photo of the GT3 canopy layout (similar to the desired Clark Rd configuration) is available for reference.